SEWS 8.1.4 (1 of 4)	Sheet 1 of ______

SCREENING EVALUATION WORK SHEET (SEWS)

Equipment ID No.:

Equipment Class: Medium-Voltage Switchgear

Equipment description:

Equipment Location: Bldg.

Floor El.

Room, Row/Col.

Manufacturer, model, etc.:

Weight of each cabinet:

Drawing No.:

Performance Category:

Functionality Requirement

q	Contact Lead Relay Reviewer to determine if item contains Essential Relays

q	For components whose function or structural integrity is required, complete all sections of this form.

q	For all other components, only anchorage evaluation is required.

Seismic Capacity vs. Demand (Chapter 5)

1.	Seismic Capacity based on:

q	Reference Spectrum

q	GERS

q	Existing documentation

2.	Elevation where equipment receives seismic input

Seismic Demand Spectrum (SDS) based on:

q	In-structure response spectrum (IRS) per DOE-STD-1020

q	Other in-structure response spectrum (determine appropriate experience data

scale factor)

q	Design basis earthquake (DBE) per DOE-STD-1020

q	Other

Scale Factor (SF)			Experience Data Factor (FED)

Does capacity exceed demand?	Y	N	U

Reference:

Caveats (Section 8.1.4)

Reference Spectrum (Identify with an asterisk (*) those caveats which are met by intent without meeting the specific wording of the caveat rule and explain the reason for this conclusion in the COMMENTS section below)

1.	Equipment is included in earthquake experience equipment class 	Y	N	U	N/A

2.	2.4 kV to 4.16 kV rating	Y	N	U	N/A

3.	Internally mounted potential and/or control power transformers are

restrained to prevent damage to or disconnection of contacts	Y	N	U	N/A

4.	Adjacent cabinets which are close enough to impact, or sections of

multi-bay cabinets, are bolted together if they contain essential relays	Y	N	U	N/A

5.	Attached weight (except conduit) less than about 100 lbs per

cabinet bay		Y	N	U	N/A

6.	Externally attached items rigidly anchored	Y	N	U	N/A

SEWS 8.1.4 (2 of 4)	Sheet 2 of ______

SCREENING EVALUATION WORK SHEET (SEWS) (Cont.)

Equipment ID No.:

Equipment Class: Medium-Voltage Switchgear

Equipment description:

Caveats (Cont.)

7.	General configuration similar to ANSI C37.20 standards	Y	N	U	N/A

8.	Cutouts in lower half of cabinet side sheathing less than 30% of

width of side panel wide and less than 60% of width of side panel

excluding bus transfer compartment	Y	N	U	N/A

9.	All doors secured by latch or fastener	Y	N	U	N/A

10.	Have you looked for and found no other adverse concerns? 	Y	N	U	N/A

Is the intent of all the caveats met for Reference Spectrum? 	Y	N	U	N/A

GERS (Identify with an asterisk (*) those caveats which are met by intent without meeting the specific wording of the caveat rule and explain the reason for this conclusion in the COMMENTS section below)

1.	Equipment is included in generic seismic testing equipment class 	Y	N	U	N/A
  2.	Meets all Reference Spectrum caveats  	Y	N	U	N/A
  3.	Floor-mounted enclosure		Y	N	U	N/A
  4.	The switchgear is not a specially-designed type 	Y	N	U	N/A
  5.	Circuit breakers are truck-mounted type, not jack-up or vertical lift	Y	N	U	N/A
  6.	Average weight per vertical section less than 5,000 lbs 	Y	N	U	N/A
  7.	For 2.5g level GERS, vertical restraint prevents circuit breaker uplift 	Y	N	U	N/A
  8.	For 2.5g level GERS, circuit break arc chutes are restrained

horizontally	Y	N	U	N/A
  9.	For 2.5g level GERS, a Beaver Type Z relay is not used in
	   Westinghouse MV switchgear for the "Y" anti-pump relay 	Y	N	U	N/A
10.	Separate evaluation of breaker racking mechanism completed;
	   seismic positioner or sufficient side-to-side restraints used 	Y	N	U	N/A
11.	Adjacent cabinets which are close enough to impact,	Y	N	U	N/A
	   or sections of multi-bay cabinets, are bolted together

Is the intent of all the caveats met for GERS? 	Y	N	U	N/A

Anchorage (Chapter 6)

1.	Type of anchorage:

q 	expansion anchor

q 	cast-in-place bolt or headed stud anchor

q 	cast-in-place J-bolt

q 	grouted-in-place bolt

q 	welds to embedded steel on exposed steel

q 	lead cinch anchors

q	Other

q 	N/A (no further anchorage considerations)

2.	Appropriate characteristics for anchorage type checked

(size, location, equipment characteristics)	Y	N	U

SEWS 8.1.4 (3 of 4)	Sheet 3 of ______

SCREENING EVALUATION WORK SHEET (SEWS) (Cont.)

Equipment ID No.:

Equipment Class: Medium-Voltage Switchgear

Equipment description:

Anchorage (Cont.)

3.	Gap at threaded anchor less than 1/4 inch	Y	N	U 	N/A

4.	Base stiffness and no significant prying action requirements met	Y	N	U

5.	Equipment base strength and structural load path adequate	Y	N	U

6.	Embedment steel and pads requirements met	Y	N	U 	N/A

7.	Embedment length requirements met	Y	N	U

8.	Anchor spacing requirements met	Y	N	U

9.	Edge distance requirements met	Y	N	U

10.	Concrete strength requirements met	Y	N	U

11.	Concrete crack requirements met	Y	N	U

12.	Equipment with essential relays requirements met	Y	N	U 	N/A

13.	Installation adequacy requirements met	Y	N	U 	N/A

14.	No other concerns	Y	N	U

Does anchorage capacity exceed demand?	Y	N	U

Reference:

Interaction Effects (Chapter 7)

1.	Soft targets free from impact by nearby equipment
	   or structures	 		Y	N	U	N/A
2.	If equipment contains sensitive essential relays, equipment free
	   from all impact by nearby equipment or structures 	Y	N	U	N/A
3.	Attached lines have adequate flexibility  	Y	N	U	N/A
4.	No collapse of overhead equipment, distribution systems,
	   or masonry walls 		Y	N	U	N/A
5.	Equipment is free from credible and significant
	   seismic-induced flood and spray concerns	Y	N	U	N/A
6.	No credible seismic-induced fire concerns	Y	N	U	N/A
7.	No other Òtwo over oneÓ concerns as defined in DOE-STD-1021	Y	N		N/A

8.	No other concerns 		Y	N	U	N/A

Is equipment free of interaction effects? Y N U

Comments

SEWS 8.1.4 (4 of 4)	Sheet 4 of ______

SCREENING EVALUATION WORK SHEET (SEWS) (Cont.)

Equipment ID No.:

Equipment Class: Medium-Voltage Switchgear

Equipment description:

Comments (Cont.)

Screening Walkdown(s):

Date	Time	Team Members

Recommend Resolution

q	Maintenance action:

q	Further evaluation:

q	Retrofit design:

q	Other:

q	No further action required.  Equipment is seismically adequate.

All aspects of the equipment's seismic adequacy have been addressed.

Evaluation by:  			Date:

(All team members)