SEWS 9.2.1 (1 of 6)	Sheet 1 of ______

SCREENING EVALUATION WORK SHEET (SEWS)

Equipment ID No.:

Equipment Class: Cable and Conduit Raceway

Systems

Cable tray/Conduit identification:

Systems:

Building:

Floor El. (S):

Location:

Performance Category:

Tray System or Conduit Boundary

Cable tray/Conduit description:

Description or sketch (attach sheets as necessary):

Functionality Requirement

q	Maintain electrical cable function

q	Maintain position

SEWS 9.2.1 (2 of 6)	Sheet 2 of ______

SCREENING EVALUATION WORK SHEET (SEWS) (Cont.)

Equipment ID No.:

Equipment Class: Cable and Conduit Raceway

Systems

Cable tray/Conduit identification:

Systems:

Seismic Capacity vs. Demand (Chapter 5)

1.	Seismic Capacity based on:

q	Reference Spectrum

q	GERS

q	Existing documentation

2.	Elevation where equipment receives seismic input

Seismic Demand Spectrum (SDS) based on:

q	In-structure response spectrum (IRS) per DOE-STD-1020

q	Other in-structure response spectrum (determine appropriate experience data

scale factor)

q	Design basis earthquake (DBE) per DOE-STD-1020

q	Other

Scale Factor (SF)			Experience Data Factor (FED)

Does capacity exceed demand?	Y	N	U

Reference:

Inclusion Rules Review (Section 9.2.1)

1.  Cable tray spans	Y	N	U	N/A

2.  Conduit spans	Y	N	U	N/A

3.  Tie downs	Y	N	U	N/A

4.  Channel nuts	Y	N	U	N/A

5.  Rigid boots	Y	N	U	N/A

6.  Beam clamps	Y	N	U	N/A

7.  Cast-iron inserts	Y	N	U	N/A

SEWS 9.2.1 (3 of 6)	Sheet 3 of ______

SCREENING EVALUATION WORK SHEET (SEWS) (Cont.)

Equipment ID No.:

Equipment Class: Cable and Conduit Raceway

Systems

Cable tray/Conduit identification:

Systems:

General Walkdown Review (Section 9.2.1)

1.	Anchor bolts	Y	N	U	N/A

2.	Concrete condition	Y	N	U	N/A

3.	Corrosion	Y	N	U	N/A

4.	Sagging raceways	Y	N	U	N/A

5.	Broken or missing components	Y	N	U	N/A

6.	Restraint of cables	Y	N	U	N/A

7.	Aging of plastic ties	Y	N	U	N/A

8.	System hardspots	Y	N	U	N/A

Welded connections	Y	N	U	N/A

Components and sharp edges	Y	N	U	N/A

Bare cables	Y	N	U	N/A

Cable fill/ties	Y	N	U	N/A

Short rods	Y	N	U	N/A

Interaction Effects (Chapter 7)

1.	Soft targets free from impact by nearby equipment
	   or structures	 		Y	N	U	N/A

2.	If equipment contains sensitive essential relays, equipment free
	   from all impact by nearby equipment or structures 	Y	N	U	N/A

3.	Attached lines have adequate flexibility  	Y	N	U	N/A

4.	No collapse of overhead equipment, distribution systems,

or masonry walls 		Y	N		N/A

5.	Equipment is free from credible and significant

seismic-induced flood and spray concerns	Y	N		N/A

6.	No credible seismic-induced fire concerns	Y	N		N/A

7.	No other Òtwo over oneÓ concerns as defined in DOE-STD-1021	Y	N		N/A

8.	No other concerns 		Y	N	U	N/A

Is equipment free of interaction effects? 		Y	N	U

SEWS 9.2.1 (4 of 6)	Sheet 4 of ______

SCREENING EVALUATION WORK SHEET (SEWS) (Cont.)

Equipment ID No.:

Equipment Class: Cable and Conduit Raceway

Systems

Cable tray/Conduit identification:

Systems:

Analytical Review Support Selection

SEWS 9.2.1 (5 of 6)	Sheet 5 of ______

SCREENING EVALUATION WORK SHEET (SEWS) (Cont.)

Equipment ID No.:

Equipment Class: Cable and Conduit Raceway

Systems

Cable tray/Conduit identification:

Systems:

Analytical Review Data Sheet

Room No.: _____________________________ Selection No.: ___________________________

Location: ________________________

Description and Sketch:

Additional Notes:

SEWS 9.2.1 (6 of 6)	Sheet 6 of ______

SCREENING EVALUATION WORK SHEET (SEWS) (Cont.)

Equipment ID No.:

Equipment Class: Cable and Conduit Raceway

Systems

Cable tray/Conduit identification:

Systems:

Comments

Screening Walkdown(s):

Date	Time	Team Members

Recommend Resolution

q	Maintenance action:

q	Further evaluation:

q	Retrofit design:

q	Other:

q	No further action required.  Equipment is seismically adequate.

All aspects of the equipment's seismic adequacy have been addressed.

Evaluation by:  			Date:

(All team members)